## Slide 1: Final Impressions for Complete Dentures

## Slide 2: Edentulous Impression Material
Silicone
  Addition reaction
  Acceptable taste
  Dimensionally stable
  Elastic recovery

## Slide 3: Polyvinyl Siloxanes (PVS) Addition Reaction Silicone
Newer materials more hydrophilic
  Similar to Polysulfides & Polyethers
Flow
  Thixotropic
  Require pressure to flow

## Slide 4: Polyvinyl Siloxanes Addition Reaction Silicone
Good dimensional stability
Excellent elastic recovery
Excellent dimensional accuracy
Material of choice

## Slide 5: Tray Wax Spacer
Can be left in place or removed
Recommend removal prior to border molding:
  Less chance of overextensions
  Difficult to remove after border molding
  Spacer can melt during border molding

## Slide 6: Custom Trays
Smooth sharp surfaces of border molding or tray

## Slide 7: Effect of Sharp Borders

## Slide 8: Custom Tray Perforations
After, NOT before border molding
Allows release of hydraulic pressure
More improves retention to tray, more relief from pressure
Too Few
Too Many?

## Slide 9: Adhesive
Paint inside of tray, after perforation
Thinner coat is better
Cover border molding

## Slide 10: Adhesive
Pour small amount into tray
Spread THIN with disposable brush
Do NOT use cap brush
Allow to dry minimum of 5 minutes
Too thick
Just Right
X

## Slide 11: Final Impressions
Dry tissues with 2x2 gauze folded in cotton pliers

## Slide 12: Tissue Rest
Leave dentures out 24 hours
  Tissue recovery
Use low viscosity polyvinyl siloxane material
  Use adhesive

## Slide 13: Loading Custom Trays
Enough material to replace wax spacer
Load quickly – viscosity increases rapidly
Avoid bubbles when loading
Bring material over peripheries

## Slide 14: Cover Peripheries
Cover border molding
Minimizes chance of voids in vestibule

## Slide 15: Tray Insertion
Insert side of tray against commissure of mouth & rotating tray into place while pulling outward on commissure of contralateral side

## Slide 16: Final Impressions
Subsurface Voids
Tech. Dentist
A B C TOTAL
F-B 3 2 1 6
Even 4 3 6 13
B-F 6 4 3 13
__________________________
TOTAL 13 9 10 32
Seat tray front to back - use gauze over holes in tray
Ensure tray is centered & properly oriented

## Slide 17: Tissue Manipulation Maxilla
Slight manipulation of cheeks, lips
Patient moves mandible to side to side for maxillary impression

## Slide 18: Tissue Manipulation Mandible
Hold tray in position & have patient:
  Pucker lips
  Lift & move tongue forward & side to side

## Slide 19: Final Impression Video
Final Impression
Two Mirror Technique

## Slide 20: Set Time
Most PVS materials set within 6 min
Know the set time
Don’t remove prematurely (distortion)

## Slide 21: Evaluating Impressions Video

## Slide 22: Maxillary Final Impressions
Excessive Burnthrough
Thick Anterior Periphery
Thick Peripheries, Burnthrough (Tuberosity),
Folds & Seams on Peripheries

## Slide 23: Maxillary Final Impressions
Large Palatal Void, Burnthrough (Tuberosity),
Folds & Seams on Peripheries

## Slide 24: Maxillary Final Impressions
Immense Palatal Void,
Burnthrough (Tuberosities),
Folds, Seams, Incomplete Peripheries

## Slide 25: Significant Burnthrough
Distorts Tissue Contours
Significant Burnthrough
Significant Burnthrough

## Slide 26: Mandibular Final Impressions
Significant Burnthrough
Thin Undercut Peripheries
Significant Burnthrough
Significant Burnthrough

## Slide 27: Trim Impressions

## Slide 28: Acceptable Final Impressions

## Slide 29: Post-palatal Seal (Post Dam)
Compensates for polymerization shrinkage and distortion from palate
Enhances retention
Prior to Removal from Cast
After Removal from Cast

## Slide 30
Post Dam - displaces tissue to create seal
Movable Soft Palate
Posterior of Denture – vibrating line
From Dr. J Shotwell, U of Michigan

## Slide 31: Post-palatal Seal
Mark post-palatal seal with indelible stick – glandular area & vibrating line
Place impression in mouth, line transfers to impression

## Slide 32: Post-palatal Seal
If short of vibrating line and hamular notches
Lack of retension

## Slide 33: Post-palatal Seal
Disinfect, dry
Refresh the line with new indelible stick
Trim to vibrating line and hamular notches with scissors and/or scalpel

## Slide 34: Post-palatal Seal
Prescribe a mechanical post-palatal seal
Pour impression in Type III stone (ie. Microstone)
Mark location, Laboratory will perform

## Slide 35: Boxing Final Impressions Rationale
Superior hardness of cast surface
Provides land area & preserves peripheral role
Minimizes trimming

## Slide 36: Boxing & Pour Impression Video

## Slide 37: Trimming the Cast
Soak in Slurry
Trim – Keep Damp

## Slide 38: Trimming the Cast Land Area = 3-6mm Wide
Land Area Too Wide to fit Flask
3-6mm Land Area